Copyright 2012 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 334100 - STORM UTILITY DRAINAGE PIPING

PIPING

Hub-and-Spigot, Cast-Iron Soil Pipe and Fittings:  [Extra-Heavy] [Service] class.

Hubless cast-iron oil pipe and fittings with [CISPI-trademarked] [heavy-duty] [cast-iron] shielded couplings.

Ductile-iron, culvert pipe and [standard] [compact] fittings.

Ductile-iron, [push-on] [mechanical]-joint pressure pipe and [push-on] [mechanical]-joint [standard] [compact] fittings.

Corrugated steel pipe and fittings.

Corrugated aluminum pipe and fittings.

ABS pipe and fittings.

Corrugated PE pipe and fittings.

PVC Pipe and Fittings:  [Cellular-core] [Corrugated-sewer] [Profile-sewer] [Type PSM sewer] [Gravity-sewer] [Pressure] [Water-service] piping.

Fiberglass pipe and fittings.

Concrete Pipe and Fittings:  [Nonreinforced] [Reinforced]-concrete sewer pipe and fittings.

Nonpressure Transition Couplings:  [Unshielded flexible] [Shielded flexible] [Ring-type flexible].

Pressure pipe couplings.

Expansion Joints and Deflection Fittings:  Ductile-iron [flexible expansion joints] [expansion joints] [deflection fittings].

COMPONENTS

Backwater Valves:  [Cast iron] [Plastic].

Cleanouts:  [Cast iron] [Plastic].

Drains:  [Cast-iron area] [and] [cast-iron trench] [steel trench].

Encasement for Piping:  PE film.

Manholes:  [Standard precast concrete] [Designed precast concrete] [Fiberglass].

Resilient pipe connectors.

[Adjusting] [Grade] rings.

[Ductile-iron] [Gray-iron] manhole frames and covers.

Polymer-Concrete, Channel Drainage Systems:  [Sloped-invert] [Narrow-width, level-invert] [Wide-width, level-invert] type.

Drainage Specialties:  [Large catch basins] [small catch basins] [oil interceptors] [and] [sediment interceptors].

Plastic, Channel Drainage Systems:  [Fiberglass] [PE].

Catch Basins:  [Standard precast] [Designed precast] concrete.

Ductile-iron frames and grates.

Stormwater Inlets:  [Curb] [gutter] [and] [combination] type.

Stormwater Detention Structures:  Cast-in-place concrete with ductile-iron manhole frames and covers.

Pipe Outlets:  [Head wall] [riprap basins] [filter stone] [and] [energy dissipaters].

Dry Wells:  [Precast, perforated concrete rings] [Manufactured PE side panels and top cover] [Constructed-in-place aggregate].

Stormwater Disposal Systems:  [Chamber] [Pipe] type.

END OF SECTION 334100